## Slide 1: Introduction to Image Analysis with FIJI
Noreen Walker, Gayathri Nadar
Scientific Computing Facility, MPI-CBG
3.-7.5.2021
7. Good Practices & Ethical Guidelines, Further Resources
Aim of this session:
Good practices for image analysis
Further resources

## Slide 2: Overview
Good practices and ethical guidelines
Further resources

## Slide 3
Good Practices

## Slide 4: Good practices: General
Scientific work – with images and in general – should be:
Reproducible
Objective and unbiased
Therefore:
Keep the raw data, including meta-data.
Document everything you do.
  Experiment and data analysis
Design proper control experiments.
Acquire and analyze images in an unbiased way.
  For example: Automatized selection of multiple fields of view
  No manual selection of “good data”
Image: Taniguchi et al, Science, 2010
Autofluorescence or basal expression?
Notes: Fields of view: blind grid, e.g. take every 5th tile

## Slide 5: Image acquisition
Good analysis starts with good acquisition:
  garbage in, garbage out.
  Think about the whole pipeline before acquiring large amounts of data.
Use same acquisition settings for all experiments that will be compared.
Choose appropriate optical resolution and magnification (sampling).
Image sources:
Elena Gromberg, Tanaka Group, CRTD Dresden, and
Cromey: Avoiding Twisted Pixels,
Notes: Ask IPF and LMF If in doubt

## Slide 6: Image acquisition
Use suitable dynamic range during acquisition:
  No over-saturation, black level not too high
Avoid bleedthrough between channels.
Avoid chromatic aberration as much as possible.
  or measure chromatic shift with multicolor beads.
… and more …
Image sources:
ImageJ sample images, and
https://www.olympus-lifescience.com/de/applications/low-chromatic-aberration-objective-scale-optical-confocal-imaging/
over-saturation
chromatic aberration
Notes: Ask IPF and LMF If in doubt

## Slide 7: Scientific image analysis
Purpose of scientific data visualization and quantitative image analysis:
  Report and quantify results in an objective way.
  NOT: produce “pretty images”.
Analysis can go wrong unintentionally:
  Simply by not knowing the pitfalls, without any bad intentions.
Resources for Ethical Guidelines:
  D. W. Cromey: Avoiding Twisted Pixels: Ethical Guidelines for the Appropriate Use and Manipulation of Scientific Digital Images
    Used as base for the following slides
    Paper: https://www.ncbi.nlm.nih.gov/pmc/articles/PMC4114110/
    Graphical summary: https://ori.hhs.gov/education/products/RIandImages/guidelines/list.html
  Rossner & Yamada: What's in a picture? The temptation of image manipulation
    https://rupress.org/jcb/article/166/1/11/34064/What-s-in-a-picture-The-temptation-of-image

## Slide 8: Good practices for image analysis
Keep the original data untouched – always work on a copy of your data.
Don’t use lossy compression like jpg.
  tif is the best option, png can work.
Sources:
Cromey: Avoiding Twisted Pixels, and
https://cscie12.dce.harvard.edu/lecture_notes/2007-08/20080312/slide21.html

## Slide 9: Good practices for image analysis
Treat images as data.
  Image processing = applying mathematical functions
  Over-processing can deteriorate data.
Don’t process your image partially.
Careful filtering and processing is (usually) ok.
  No photoshopping!
But always document your processing steps:
  Cropping, blurring, projection, segmentation, …
  Also: which software you used
  Ideal for reproducibility: IJ macro.
partly from: Cromey: Avoiding Twisted Pixels
Over-processed: saturation
Notes: Partially = e.g. adjust B&C for part of the image

## Slide 10: Good practices for image analysis
Process all images of an experiment series the same way.
  auto-threshold, blurring parameters, …
Visualization
  Add scale bar, figure caption, optionally colorbar
  Avoid non-linear gamma if possible – or document it
  Same brightness & contrast for image comparisons
Intensity Measurements
  Requires uniformly processed data (or unprocessed data)
    Flatfield correction, background subtraction, …
  Have proper controls
Other processing: ok / not ok ?
  Ok: cropping (usually)
  Not ok: Remove artifacts with a drawing tool
  Not ok: Copy parts of images into each other
Legend: Mitosis. green: XXX, red: XXX
The decision what processing is appropriate is not always binary.
Think critically, document and ask for feedback when in doubt.
partly from: Cromey: Avoiding Twisted Pixels
Visualization
Notes: Calibration bar: for more exotic LUTs helpful

## Slide 11
Further Resources

## Slide 12: Image.sc Forum: Getting Help
https://forum.image.sc/
Very active forum on image analysis
  For all user levels
  For conceptual questions, technical issues, announcements etc.
  Often you get help very quickly.
Tips:
  Be nice – the people who help you are volunteering.
  If you know an answer: help others.

## Slide 13: IJ Macro Cheat Sheet
Download: https://git.mpi-cbg.de/scicomp/bioimage_team/coursematerialimageanalysis/-/blob/master/Cheatsheet_IJMacro/ImageJ_macro_cheatsheet.pdf

## Slide 14: Image Visualization Cheat Sheet
By: Christopher Schmied, Helena Jambor
Paper & download: https://f1000research.com/articles/9-1373

## Slide 15: Resources
User Forum:
Use https://forum.image.sc/ to interact with the broader community, asking questions, finding solutions, etc.
Strongly recommended!
Courses and text books:
NEUBIAS training: http://eubias.org/NEUBIAS/training-schools/
EMBL: https://www.embl.de/training/events/index.php
Book by Kota Miura: https://www.imaging-git.com/olympus-website-bioimage-data-analysis
How-to Guides:
From SCF-MPI-CBG: https://mpicbg-scicomp.github.io/ipf_howtoguides/
From Uni of Zurich: https://zmb.dozuki.com/c/Image_Analysis#main
Video lectures
EPFL: image processing and analysis for Life Scientists: https://www.edx.org/course/image-processing-and-analysis-for-life-scientists
Robert Haase: Lecture BioImage Analysis (Dresden): https://www.youtube.com/playlist?list=PL5ESQNfM5lc7SAMstEu082ivW4BDMvd0U
NEUBIAS Academy @Home: https://www.youtube.com/c/NEUBIAS/featured http://eubias.org/NEUBIAS/training-schools/neubias-academy-home/
ImageJ Documentation:
ImageJ user guide: https://imagej.nih.gov/ij/index.html
FIJI website: https://fiji.sc/

## Slide 16: Image analysis – further reading
https://imagej.net/User_Guides

## Slide 17
We did it! Thank you for joining!
🏆
Lastly, we‘d love to get your feedback!